## Slide 1: Introduction

## Slide 2: Acronyms
Notes: There have been failed projects.

## Slide 3: Acronyms
Notes: There have been failed projects.

## Slide 4: Acronyms
Notes: There have been failed projects.

## Slide 5: Acronyms
PCE | Perchloroethylene
PCR | Polymerase Chain Reaction
PDC | Power Distribution Center
PLFA | Phospholipid Fatty-acid Analysis
PPCP | Pharmaceuticals and Personal Care Products
PSA | Pressure Swing Adsorption Oxygen Separator
RH | Relative Humidity
RO | Reverse Osmosis
RTW | Rothburg Tamburini and Winsor (corrosion software model now owned by Tetra Tech)
SCC | System Control Center
SW | Surface Water
T&O | Taste and Odor
TCE | Trichloroethylene
TDS | Total Dissolved Solids
TKN | Total Kjeldahl Nitrogen
TOC | Total Organic Carbon
TOrC | Trace Organic Compound
TRFLP | Terminal Restriction Fragment Length Polymorphism
TSS | Total Suspended Solids
Notes: There have been failed projects.

## Slide 6: Acronyms
UF | Ultrafiltration
UV | Ultraviolet Light
UVI | Ultraviolet Light Intensity
UVT | Ultraviolet Transmittance
VFD | Variable Frequency Drive
VPSA | Vacuum Pressure Swing Adsorption
W | Width
WHO | World Health Organization
WRF | The Water Research Foundation
WTP | Water Treatment Plant

## Slide 7: Potable Reuse is Necessary for Reliable and Sustainable Water Supply in Parts of the US
Potable water reuse is a reasonable, cost-effective solution for periodic and extensive drought conditions throughout the southwestern US
Potable water reuse through groundwater recharge can help mitigate salt water intrusion along the east and west coasts of the US
Increasingly stringent ocean discharge requirements on both the East and West Coasts of the US encourage consideration of water purification and reuse
Notes: There have been failed projects.

## Slide 8: California Projects Result in 206 Million Gallons per Day of Potable Reuse
Example - Orange County Water District
  Purification and groundwater recharge
  100 million gallons per day
  188 billion gallons purified and recharged since the 1970s
  Expanding to 130 million gallons per day
Example - Water Replenishment District/LACSD
  Advanced treatment and surface spreading for groundwater recharge
  473 billion gallons recharged since the 1960s
Notes: There have been failed projects.

## Slide 9: Long Standing (and Successful) Projects Exist Nationally
Upper Occoquan Services Authority Treatment and Augmentation of the Occoquan Reservoir (Virginia)
Gwinnett County Treatment and Augmentation of Lake Lanier (Georgia)

## Slide 10: Successful Implementation of Direct Potable Reuse in Big Spring Texas
Extensive testing showed purified water was better quality than other water supplies AND protective of public health.

## Slide 11: The Potable Reuse Water Cycle Example #1
Community
Conventional Water Supply
Reclaimed Water Purification
Wastewater Treatment Plant
Water Treatment Plant
Potable Reuse
Example Projects: UOSA (Virginia) and San Diego (California)
Notes: There have been failed projects.

## Slide 12: The Potable Reuse Water Cycle Example #2
Community
Conventional Water Supply
Reclaimed Water Purification
Wastewater Treatment Plant
Potable Reuse
Groundwater Supply Wells
Example Projects: OCWD (California) and West Basin MWD (California)
Notes: There have been failed projects.

## Slide 13: The Potable Reuse Water Cycle Example #3
Community
Conventional Water Supply
Reclaimed Water Purification
Wastewater Treatment Plant
Potable Reuse
Example Project: CRMWD (Big Spring Texas)
Water Treatment Plant
Notes: There have been failed projects.

## Slide 14: International, National, and Regional Expert Panels Continue to Confirm the Safety and Quality of Potable Reuse

## Slide 15: The Advanced Water Treatment Operator Must Understand a Broad Range of Water Purification and Monitoring Systems
Notes: There have been failed projects.

## Slide 16: Potable Reuse Requires Multiple Barriers for Reliable Purification
Target | WWTP | UF | RO | UV AOP
Protozoa | X | X | X | X
Virus | X |  | X | X
MCLs | X |  | X | X
CECs | X |  | X | X
Target | WWTP | Ozone | BAF | UF | GAC | UV AOP
Protozoa | X | X | X | X |  | X
Virus | X | X |  | X |  | X
MCLs | X | X | X |  | X | X
CECs | X | X | X |  | X | X

## Slide 17: Potable Reuse Requires Precise and Accurate Online Monitoring for Water Quality Confidence
Screenshot from “Ways of Water”
https://www.youtube.com/watch?v=RwrYFJEJSQ0

## Slide 18: Available Project Training Modules
Introduction
Microfiltration and Ultrafiltration Membranes
Reverse Osmosis Membranes
Ozone Disinfection
Granular Activated Carbon Adsorption
Biological Filtration
UV Disinfection and UV Advanced Oxidation
Corrosion Control

## Slide 19
The Water Research Foundation (WRF) is a nonprofit (501c3) organization which provides a unified source for One Water research and a strong presence in relationships with partner organizations, government and regulatory agencies, and Congress. The foundation conducts research in all areas of drinking water, wastewater, stormwater, and water reuse. The Water Research Foundation’s research portfolio is valued at over $700 million.
The Foundation plays an important role in the translation and dissemination of applied research, technology demonstration, and education, through creation of research-based educational tools and technology exchange opportunities. WRF serves as a leader and model for collaboration across the water industry and its materials are used to inform policymakers and the public on the science, economic value, and environmental benefits of using and recovering resources found in water, as well as the feasibility of implementing new technologies.
For more information, contact:
The Water Research Foundation
Alexandria, VA Office
1199 North Fairfax Street, Suite 900
Alexandria, VA 22314-1445
Tel: 571.384.2100
www.werf.org
werf@werf.org
Denver, CO Office
6666 West Quincy Avenue
Denver, Colorado 80235-3098
Tel: 303.347.6100
www.waterrf.org
Info@WaterRF.org
©Copyright 2018 by The Water Research Foundation. All rights reserved. Permission to copy must be obtained from The Water Research Foundation.
WRF ISBN: 978-1-60573-363-0
WRF Project Number: Reuse-15-05/4772
This report was prepared by the organization(s) named below as an account of work sponsored by The Water Research Foundation. Neither The Water Research Foundation, members of The Water Research Foundation, the organization(s) named below, nor any person acting on their behalf: (a) makes any warranty, express or implied, with respect to the use of any information, apparatus, method, or process disclosed in this report or that such use may not infringe on privately owned rights; or (b) assumes any liabilities with respect to the use of, or for damages resulting from the use of, any information, apparatus, method, or process disclosed in this report.
Hazen and Sawyer, Carollo Engineers Inc., Santa Clara Valley Water District
This document was reviewed by a panel of independent experts selected by The Water Research Foundation. Mention of trade names or commercial products or services does not constitute endorsement or recommendations for use. Similarly, omission of products or trade names indicates nothing concerning The Water Research Foundation's positions regarding product effectiveness or applicability.
The Water Research Foundation (WRF) is a nonprofit (501c3) organization which provides a unified source for One Water research and a strong presence in relationships with partner organizations, government and regulatory agencies, and Congress. The foundation conducts research in all areas of drinking water, wastewater, stormwater, and water reuse. The Water Research Foundation’s research portfolio is valued at over $700 million.
The Foundation plays an important role in the translation and dissemination of applied research, technology demonstration, and education, through creation of research-based educational tools and technology exchange opportunities. WRF serves as a leader and model for collaboration across the water industry and its materials are used to inform policymakers and the public on the science, economic value, and environmental benefits of using and recovering resources found in water, as well as the feasibility of implementing new technologies.
For more information, contact:
The Water Research Foundation
Alexandria, VA Office
1199 North Fairfax Street, Suite 900
Alexandria, VA 22314-1445
Tel: 571.384.2100
www.werf.org werf@werf.org
Denver, CO Office
6666 West Quincy Avenue
Denver, Colorado 80235-3098
Tel: 303.347.6100
www.waterrf.org Info@WaterRF.org
© Copyright 2018 by The Water Research Foundation. All rights reserved. Permission to copy must be obtained from The Water Research Foundation.
WRF ISBN: 978-1-60573-363-0
WRF Project Number: Reuse-15-05/4772
This report was prepared by the organization(s) named below as an account of work sponsored by The Water Research Foundation. Neither The Water Research Foundation, members of The Water Research Foundation, the organization(s) named below, nor any person acting on their behalf: (a) makes any warranty, express or implied, with respect to the use of any information, apparatus, method, or process disclosed in this report or that such use may not infringe on privately owned rights; or (b) assumes any liabilities with respect to the use of, or for damages resulting from the use of, any information, apparatus, method, or process disclosed in this report.
Hazen and Sawyer, Carollo Engineers Inc., Santa Clara Valley Water District
This document was reviewed by a panel of independent experts selected by The Water Research Foundation. Mention of trade names or commercial products or services does not constitute endorsement or recommendations for use. Similarly, omission of products or trade names indicates nothing concerning The Water Research Foundation's positions regarding product effectiveness or applicability.